## EFOY Pro + Solar Calculator
EFOY Pro + Solar Energy Calculator v3.5
Please fill out the white cells:
Energy Demand
Current |  | 1
Voltage |  | 24 | [5 empty] | 12
Duration per day |  | 24 | [5 empty] | 24
Power demand |  | 24 | [5 empty] | 48
Energy demand per day |  | 576
Energy Yield Solar Panel (Crystalline Silicon Solar Module)
Nominal power (Ppeak) of solar panel |  | 200
System losses |  | 10%
Location |  | Denmark, Copenhagen
Energy yield in worst month |  | 96.72
Annual solar yield |  | 191.1762
Size of solar panel |  | 1.6667 |  | 17.9404
Inclination |  | 45 | [5 empty] | 45
Solareinstrahlung | [9 empty] | Leistung / Tag | Leistung / Monat | Leistung / Jahr | EFOY Pro | Ausgangsleistung | Anzahl | Leistung
Jan |  | 0.62 | [7 empty] | 0 | 0 | 0 | neccessary | 0 | not | 0
Feb |  | 1.27 | [7 empty] | 840 | 25.2 | 302.4 | EFOY Pro 800 (Duo) | 35 | 1 | 35
Mär |  | 2.51 | [7 empty] | 2280 | 68.4 | 820.8 | EFOY Pro 2400 (Duo) | 95 | 1 | 95
Apr |  | 3.96 | [7 empty] | 4560 | 136.8 | 1641.6 | EFOY Pro 2400 (Duo) | 95 | 2 | 190
Mai |  | 5.33 | [7 empty] | 6840 | 205.2 | 2462.4 | EFOY Pro 2400 (Duo) | 95 | 3 | 285
Jun |  | 5.51 | [7 empty] | 6840 | 205.2 | 2462.4 | EFOY Pro 2400 (Duo) | 95 | 3 | 285
Jul |  | 5.28 | [7 empty] | 6840 | 205.2 | 2462.4 | EFOY Pro 2400 (Duo) | 95 | 3 | 285
Aug |  | 4.46 | [7 empty] | 11184 | 335.52 | 4026.24 | EFOY Pro 12000 Duo | 466 | 1 | 466
Sep |  | 2.97 | [7 empty] | 22368 | 671.04 | 8052.48 | EFOY Pro 12000 Duo | 466 | 2 | 932
Okt |  | 1.61 | [7 empty] | 33552 | 1006.56 | 12078.72 | EFOY Pro 12000 Duo | 466 | 3 | 1398
Nov |  | 0.77 | [7 empty] | 44736 | 1342.08 | 16104.96 | EFOY Pro 12000 Duo | 466 | 4 | 1864
Dez |  | 0.52 | [7 empty] | 55920 | 1677.6 | 20131.2 | EFOY Pro 12000 Duo | 466 | 5 | 2330
[10 empty] | 1200000 | 36000 | 432000 | possible | 0 | not | 50000
Energieertrag PV-Anlage |  | Solar Yield |  | Energy Demand |  |  |  | Energielücke
Jan |  | 3.4596 |  | 17.856 |  |  |  | 14.3964
Feb |  | 6.4008 |  | 16.128 |  |  |  | 9.7272
Mar |  | 14.0058 |  | 17.856 |  |  |  | 3.8502 |  |  | 12 |  | 24 |  | 48 |  | Value
Apr |  | 21.384 |  | 17.28 |  |  |  | 0 |  | EFOY Pro 800 (Duo) | 50 | 200 | 30 | 100 | 0 | 0 | 30 | 100
May |  | 29.7414 |  | 17.856 |  |  |  | 0 |  | EFOY Pro 2400 (Duo) | 100 | 400 | 60 | 200 | 0 | 0 | 60 | 200
Jun |  | 29.754 |  | 17.28 |  |  |  | 0 |  | EFOY Pro 12000 Duo | 0 | 0 | 100 | 800 | 50 | 400 | 100 | 800
Jul |  | 29.4624 |  | 17.856 |  |  |  | 0 |  | neccessary | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Aug |  | 24.8868 |  | 17.856 |  |  |  | 0 |  | possible | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Sep |  | 16.038 |  | 17.28 |  |  |  | 1.242
Oct |  | 8.9838 |  | 17.856 |  |  |  | 8.8722
Nov |  | 4.158 |  | 17.28 |  |  |  | 13.122
Dec |  | 2.9016 |  | 17.856 |  |  |  | 14.9544
Summe |  | 191.1762 |  | 210.24 |  |  | Max | 14.9544 | 25.2 | 0
Differenz |  | 19.0638 |  |  |  |  | Min | 0
Energy Gap that needs to be covered by EFOY Pro
Maximum energy gap |  | 479.28 | [5 empty] | 1 | 840
Total energy gap per year |  | 66.1644 | [5 empty] | EFOY Pro 800 (Duo) | 302.4
Recommended EFOY Pro fuel cell |  | 1 | EFOY Pro 800 (Duo)
Battery capacity for 1 EFOY Pro 800 (Duo) at 24 V |  | 30 | to |  | 100
Autonomy with 1 EFOY Pro 800 (Duo) |  | Two EFOY fuel cartridge per device |  | Four EFOY fuel cartridges per device**
Fuel Cartridge M5 | 5600 | 60.9391 |  | 121.8782
Fuel Cartridge M10 | 11100 | 120.79 |  | 241.5801
Fuel Cartridge M28 | 31100 | 338.4297 |  | 676.8595
Fuel Tank MT60 | 66000 | 718.211 |  | 1436.422
* The shown values are average values for one year. The real autonomous runtime depends on season and may vary because of antifreeze mode as well as start/shut-down phases of EFOY Pro where not the full power output is generated.
** Requires EFOY Pro Duo plus two DuoCartSwitch DCS1 to connect 4 EFOY fuel cartridges
Operating Hours per Year and per Device*** |  | Devices |  | Hours |  |  |  |  | Leistung |  |  | Max. hours year | Units |  | Operation hours
EFOY Pro 800 (Duo) |  | 1 |  | 1890.4114 |  |  |  | EFOY Pro 800 (Duo) | 35 | 1 | 1890.4114 | 8000 | 1 | 1 | 1890.4114
EFOY Pro 2400 (Duo) |  | 1 |  | 696.4674 |  |  |  | EFOY Pro 2400 (Duo) | 95 | 1 | 696.4674 | 8000 | 1 | 1 | 696.4674
EFOY Pro 12000 Duo |  | 1 |  | 141.9837 |  |  |  | EFOY Pro 12000 Duo | 466 | 1 | 141.9837 | 8000 | 1 | 1 | 141.9837
*** Average values; actual yearly number of operating hours can vary depending on age of EFOY Pro unit
Disclaimer: SFC Energy AG takes no responsibility for correctness of this calculation. The values generated by the energy calculator are estimates under ideal conditions only and should not be taken as formal quotes. The real energy yield from solar panel can depend on further factors like inclination, alignment and fouling of solar panels as well as shading due to buildings, trees, etc.
Stadt | Januar | Februar | März | April | Mai | Juni | Juli | August | September | Oktober | November | Dezember
Argentina, Buenos Aires | 6.66 | 5.99 | 5.06 | 3.83 | 2.92 | 2.41 | 2.7 | 3.39 | 4.42 | 5.26 | 6.22 | 6.77
Australia, Brisbane | 6.64 | 5.81 | 5.3 | 4.26 | 3.52 | 3.31 | 3.58 | 4.44 | 5.57 | 6.04 | 6.57 | 6.8
Australia, Hobart | 5.84 | 5.21 | 3.99 | 2.7 | 1.81 | 1.46 | 1.63 | 2.38 | 3.43 | 4.64 | 5.56 | 5.98
Australia, Melbourne | 7.13 | 6.53 | 5.32 | 3.8 | 2.61 | 2.01 | 2.15 | 2.96 | 4.09 | 5.41 | 6.54 | 7.04
Australia, Perth | 7.69 | 6.84 | 5.54 | 4.16 | 3.08 | 2.63 | 2.79 | 3.56 | 4.72 | 6.17 | 7.17 | 7.81
Australia, Sydney | 5.94 | 5.28 | 4.55 | 3.59 | 2.79 | 2.52 | 2.72 | 3.61 | 4.65 | 5.54 | 5.91 | 6.28
Australian Antarctic Division | 6.1 | 4.24 | 2.39 | 0.78 | 0.05 | 0 | 0.01 | 0.39 | 1.84 | 3.72 | 5.66 | 7.12
Austria, Innsbruck | 1.44 | 2.29 | 3.4 | 4.32 | 5.19 | 5.27 | 5.3 | 4.58 | 3.43 | 2.34 | 1.44 | 1.12
Austria, Vienna | 1.15 | 1.99 | 2.98 | 4.18 | 5.28 | 5.34 | 5.23 | 4.75 | 3.33 | 1.99 | 1.12 | 0.89
Belgium, Brussels | 0.82 | 1.48 | 2.52 | 3.73 | 4.91 | 4.96 | 4.85 | 4.3 | 2.89 | 1.72 | 0.95 | 0.61
Brazil, Fortaleza - CE | 6.05 | 5.74 | 5.41 | 4.96 | 5.29 | 5.51 | 5.81 | 6.45 | 7.09 | 7.32 | 7.1 | 6.67
Brazil, Rio de Janeiro | 5.35 | 5.49 | 4.81 | 4.28 | 3.6 | 3.58 | 3.58 | 4.15 | 4.07 | 4.62 | 4.94 | 5.04
Bulgaria, Sofia | 1.76 | 2.49 | 3.46 | 4.2 | 5.11 | 5.98 | 6.19 | 5.53 | 4.22 | 2.8 | 1.77 | 1.42
Canada, Fort St. John, BC | 1.32 | 2.36 | 3.42 | 3.83 | 3.5 | 3.37 | 3.41 | 3.59 | 3.26 | 2.56 | 1.64 | 1.11
Canada, Bonnyville, AB | 1.63 | 2.62 | 3.53 | 3.59 | 3.27 | 3.1 | 3.19 | 3.34 | 3.02 | 2.51 | 1.84 | 1.07
Canada, Brooks, AB | 1.88 | 2.71 | 3.28 | 3.64 | 3.28 | 3.16 | 3.43 | 3.54 | 3.47 | 3.04 | 2.22 | 1.77
Canada, Cold Lake, AB | 1.65 | 2.64 | 3.54 | 3.61 | 3.28 | 3.11 | 3.2 | 3.35 | 3.04 | 2.53 | 1.86 | 1.09
Canada, Edmonton, AB | 1.58 | 2.6 | 3.52 | 3.63 | 3.24 | 3.11 | 3.19 | 3.36 | 3.03 | 2.51 | 1.81 | 0.95
Canada, Fort McMurray, AB | 1.53 | 2.52 | 3.58 | 3.84 | 3.49 | 3.23 | 3.3 | 3.48 | 3.11 | 2.5 | 1.8 | 0.99
Canada, Grande Prairie, AB | 1.27 | 2.22 | 3.2 | 3.7 | 3.4 | 3.36 | 3.46 | 3.53 | 3.23 | 2.57 | 1.66 | 1.17
Canada, Rocky Mt. Hs., AB | 1.95 | 2.86 | 3.54 | 3.53 | 3.15 | 3.01 | 3.19 | 3.29 | 3.25 | 2.89 | 2.09 | 1.71
Canada, Whitecourt ,AB | 1.65 | 2.69 | 3.49 | 3.52 | 3.15 | 3.1 | 3.18 | 3.32 | 3.1 | 2.57 | 1.88 | 0.93
Canada, Drayton Valley, AB | 1.8 | 2.77 | 3.52 | 3.51 | 3.15 | 3.02 | 3.21 | 3.3 | 3.15 | 2.73 | 1.98 | 1.19
Canada, Calgary, AB | 1.82 | 2.68 | 3.32 | 3.51 | 3.18 | 3.05 | 3.33 | 3.38 | 3.3 | 2.94 | 2.05 | 1.75
Canada, Peace River, AB | 1.36 | 2.33 | 3.39 | 3.79 | 3.51 | 3.41 | 3.44 | 3.56 | 3.25 | 2.54 | 1.65 | 1.12
Canada, Québec, QC | 1.55 | 2.48 | 3.64 | 4.53 | 4.99 | 5.46 | 5.19 | 4.73 | 3.55 | 2.22 | 1.41 | 1.22
Canada, Toronto, ON | 1.73 | 2.66 | 3.68 | 4.48 | 5.1 | 5.48 | 5.58 | 5.05 | 4.07 | 2.85 | 1.78 | 1.46
Canada, Vancouver, BC | 1.13 | 2.03 | 3.13 | 4.53 | 5.37 | 5.66 | 5.97 | 5.18 | 3.99 | 2.2 | 1.27 | 0.92
Chile, Santiago de Chile | 8.38 | 7.51 | 6.23 | 4.51 | 2.95 | 2.26 | 2.35 | 3.16 | 4.34 | 6.07 | 7.46 | 8.43
China, Beijing | 2.79 | 3.69 | 4.71 | 5.75 | 6.17 | 5.72 | 5.13 | 4.67 | 4.26 | 3.67 | 2.82 | 2.47
Colombia, Bogotá | 5.65 | 6.57 | 6.88 | 6.3 | 5.41 | 5.16 | 5.53 | 5.69 | 5.77 | 5.93 | 5.27 | 5.11
Colombia, Cartagena | 5.86 | 6.41 | 6.88 | 6.56 | 5.72 | 4.32 | 4.43 | 5.03 | 5.61 | 5.01 | 4.98 | 5.39
Croatia, Zagreb | 1.39 | 2.33 | 3.4 | 4.23 | 5.43 | 5.81 | 6.08 | 5.26 | 3.8 | 2.33 | 1.35 | 1.1
Czech Republic, Prague | 0.95 | 1.72 | 2.59 | 3.83 | 4.72 | 4.79 | 4.84 | 4.45 | 2.91 | 1.75 | 0.91 | 0.71
Denmark, Copenhagen | 0.62 | 1.27 | 2.51 | 3.96 | 5.33 | 5.51 | 5.28 | 4.46 | 2.97 | 1.61 | 0.77 | 0.52
Denmark, Greenland, Etah (Tilt 90°) | 0 | 0 | 1.11 | 2.73 | 3.93 | 4.35 | 4.04 | 2.82 | 1.82 | 0 | 0 | 0
Denmark, Greenland, Nuuk (Tilt 90°) | 0.12 | 0.58 | 1.49 | 3.02 | 4.49 | 5.45 | 5.26 | 3.82 | 2.45 | 1.07 | 0.26 | 0.04
Denmark, Greenland, Uummannaq (Tilt 90°) | 0 | 0.92 | 1.57 | 2.92 | 3.56 | 3.99 | 3.72 | 3.19 | 2.77 | 1.31 | 0 | 0
Estonia, Tallinn | 0.39 | 1.11 | 2.47 | 4.06 | 5.62 | 5.94 | 5.65 | 4.39 | 2.72 | 1.3 | 0.53 | 0.26
Finland, Rovaniemi | 0.06 | 0.58 | 1.91 | 3.81 | 4.99 | 5.56 | 5.08 | 3.72 | 2.15 | 0.84 | 0.16 | 0
Finland. Helsinki | 0.34 | 1.1 | 2.46 | 3.99 | 5.35 | 5.57 | 5.33 | 4.08 | 2.59 | 1.19 | 0.5 | 0.2
France, Lyon | 1.36 | 2.15 | 3.39 | 4.22 | 5.15 | 5.87 | 6.17 | 5.28 | 3.91 | 2.33 | 1.44 | 1.11
France, Nice | 1.96 | 2.94 | 4.25 | 5.09 | 6.07 | 7.02 | 7.09 | 6 | 4.6 | 2.91 | 2 | 1.63
France, Paris | 0.95 | 1.62 | 2.64 | 3.87 | 4.93 | 5.19 | 5.21 | 4.58 | 3.18 | 1.91 | 1.11 | 0.73
Germany, Berlin | 0.79 | 1.48 | 2.41 | 3.75 | 4.77 | 4.8 | 4.77 | 4.18 | 2.76 | 1.61 | 0.85 | 0.61
Germany, Dresden | 0.89 | 1.59 | 2.53 | 3.79 | 4.79 | 4.86 | 4.82 | 4.29 | 2.85 | 1.72 | 0.93 | 0.67
Germany, Düsseldorf | 0.82 | 1.5 | 2.45 | 3.67 | 4.78 | 4.83 | 4.76 | 4.24 | 2.84 | 1.64 | 0.93 | 0.63
Germany, Frankfurt a.M. | 0.81 | 1.52 | 2.4 | 3.65 | 4.57 | 4.74 | 4.67 | 4.14 | 2.79 | 1.63 | 0.88 | 0.63
Germany, Hamburg | 0.68 | 1.32 | 2.34 | 3.62 | 4.74 | 4.77 | 4.66 | 4.06 | 2.73 | 1.55 | 0.8 | 0.53
Germany, Köln | 0.82 | 1.5 | 2.45 | 3.67 | 4.78 | 4.83 | 4.76 | 4.24 | 2.84 | 1.64 | 0.93 | 0.63
Germany, München | 1.2 | 2.04 | 3.02 | 4.23 | 5.23 | 5.2 | 5.23 | 4.67 | 3.31 | 2.01 | 1.17 | 0.91
Germany, Stuttgart | 1.14 | 1.92 | 2.94 | 4.03 | 4.96 | 5.34 | 5.36 | 4.65 | 3.32 | 1.96 | 1.17 | 0.88
Greece, Athens | 1.89 | 2.61 | 3.64 | 5.15 | 6.05 | 7.21 | 7.07 | 6.36 | 4.94 | 3.1 | 1.94 | 1.51
Greece, Thessaloniki | 1.85 | 2.64 | 3.72 | 4.85 | 5.91 | 6.84 | 6.76 | 6.06 | 4.72 | 3 | 1.9 | 1.52
Hungary, Budapest | 1.23 | 2.14 | 3.1 | 4.26 | 5.32 | 5.63 | 5.62 | 5.03 | 3.64 | 2.28 | 1.28 | 0.98
Iceland, Reykjavík | 0.12 | 0.57 | 1.43 | 2.89 | 4.31 | 4.81 | 4.26 | 3.36 | 2.12 | 0.94 | 0.24 | 0.03
India, Mumbai | 5.7 | 6.36 | 7.09 | 7.37 | 7.27 | 5.67 | 5.1 | 5.26 | 5.62 | 5.68 | 5.39 | 5.13
Israel, Tel Aviv | 3.04 | 3.94 | 5.37 | 6.69 | 7.75 | 8.44 | 8.09 | 7.48 | 6.45 | 4.9 | 3.56 | 2.84
Italy, Milano | 1.59 | 2.54 | 3.77 | 4.38 | 5.27 | 6.03 | 6.2 | 5.27 | 3.84 | 2.4 | 1.59 | 1.28
Italy, Palermo | 2.27 | 3.29 | 4.69 | 5.91 | 7.05 | 7.78 | 7.93 | 6.94 | 5.33 | 3.85 | 2.46 | 1.93
Italy, Rome | 1.8 | 2.71 | 3.85 | 4.62 | 5.82 | 6.53 | 6.91 | 5.99 | 4.47 | 2.91 | 1.84 | 1.48
Japan, Tokyo | 3 | 3.72 | 4.17 | 4.88 | 4.85 | 4.21 | 4.43 | 4.47 | 3.31 | 3.05 | 2.77 | 2.72
Kenya, Nairobi | 6.49 | 6.98 | 6.68 | 6.2 | 6.2 | 5.94 | 5.89 | 6.26 | 6.9 | 6.29 | 5.65 | 6.05
Latvia, Riga | 0.55 | 1.26 | 2.59 | 3.97 | 5.51 | 5.78 | 5.46 | 4.5 | 2.84 | 1.45 | 0.66 | 0.36
Lithuania, Vilnius | 0.75 | 1.51 | 2.63 | 3.71 | 4.95 | 4.99 | 4.75 | 4.26 | 2.72 | 1.44 | 0.75 | 0.54
Malaysia, Kuala Lumpur | 4.33 | 5.11 | 5.24 | 5.36 | 5.05 | 4.91 | 4.88 | 4.98 | 5.02 | 4.83 | 4.26 | 3.81
Mexico, Mexico City | 4.73 | 5.5 | 6.2 | 6.21 | 6.16 | 5.64 | 5.67 | 5.57 | 4.95 | 4.94 | 4.79 | 4.49
Mexico, Mexico City | 4.81 | 5.45 | 5.9 | 6.07 | 5.49 | 4.7 | 4.26 | 4.25 | 4.44 | 4.44 | 4.35 | 4.41
Mexico, Monterrey | 3.24 | 3.95 | 5.08 | 5.54 | 5.99 | 6.37 | 6.45 | 6.04 | 5.08 | 4.41 | 3.63 | 3.1
Netherlands, Amsterdam | 0.77 | 1.46 | 2.62 | 4.11 | 5.5 | 5.55 | 5.42 | 4.71 | 3.01 | 1.66 | 0.86 | 0.54
Netherlands, Rotterdam | 0.77 | 1.46 | 2.62 | 4.11 | 5.5 | 5.55 | 5.42 | 4.71 | 3.01 | 1.66 | 0.86 | 0.54
New Zealand, Auckland | 6.45 | 5.68 | 4.66 | 3.34 | 2.39 | 1.97 | 2.2 | 2.91 | 4.01 | 4.94 | 5.89 | 6.31
New Zealand, Christchurch | 5.81 | 5.04 | 3.99 | 2.76 | 1.83 | 1.43 | 1.61 | 2.33 | 3.43 | 4.52 | 5.54 | 5.8
New Zealand, Wellington | 6.63 | 5.54 | 4.45 | 3.12 | 2.15 | 1.68 | 1.87 | 2.61 | 3.73 | 4.94 | 5.9 | 6.28
Norway, Oslo | 0.33 | 1.05 | 2.37 | 3.79 | 5.2 | 5.41 | 5.34 | 4.08 | 2.63 | 1.25 | 0.49 | 0.2
Norway, Trondheim | 0.16 | 0.69 | 1.84 | 3.56 | 4.96 | 5.19 | 4.66 | 3.67 | 2.4 | 1.06 | 0.3 | 0.06
Peru, Lima | 5.36 | 6.06 | 6.56 | 6.38 | 6.03 | 4.84 | 4.5 | 4.47 | 5.03 | 4.63 | 4.5 | 4.74
Poland, Gdansk | 0.61 | 1.24 | 2.58 | 4.07 | 5.38 | 5.49 | 5.36 | 4.55 | 2.97 | 1.6 | 0.73 | 0.51
Poland, Warsaw | 0.87 | 1.59 | 2.67 | 3.73 | 5.09 | 4.9 | 4.91 | 4.36 | 2.9 | 1.6 | 0.88 | 0.67
Portugal, Lisbon | 2.34 | 3.2 | 4.52 | 5.7 | 6.59 | 7.44 | 7.5 | 6.76 | 5.22 | 3.57 | 2.45 | 1.96
Republic of China, Taipei City | 2.26 | 2.63 | 3.18 | 3.94 | 4.54 | 5.52 | 6.84 | 6.2 | 4.79 | 3.74 | 2.72 | 2.23
Romania, Bucharest | 1.54 | 2.34 | 3.37 | 4.31 | 5.49 | 5.98 | 5.97 | 5.36 | 4.06 | 2.63 | 1.6 | 1.21
Russia, Moscow | 0.75 | 1.57 | 2.84 | 3.89 | 5.11 | 5.21 | 5.13 | 4.3 | 2.68 | 1.52 | 0.82 | 0.5
Russia, St. Petersburg | 0.35 | 1.06 | 2.35 | 3.91 | 5.4 | 5.84 | 5.61 | 4.38 | 2.63 | 1.24 | 0.49 | 0.2
Serbia, Belgrade | 1.42 | 2.27 | 3.34 | 4.25 | 5.3 | 5.81 | 5.97 | 5.38 | 3.87 | 2.61 | 1.5 | 1.17
Singapore, Singapore | 4.35 | 5.19 | 5.11 | 4.87 | 4.51 | 4.38 | 4.3 | 4.33 | 4.5 | 4.44 | 4.03 | 3.85
South Africa, Capetown | 8.17 | 7.3 | 5.91 | 4.3 | 3.09 | 2.64 | 2.85 | 3.67 | 4.92 | 6.46 | 7.68 | 8.18
South Africa, Pretoria | 6.6 | 6.14 | 5.6 | 4.97 | 4.61 | 4.23 | 4.59 | 5.19 | 6.1 | 6.27 | 6.4 | 6.5
South Korea, Seoul | 2.83 | 3.7 | 4.45 | 5.42 | 5.6 | 4.97 | 3.93 | 4.14 | 4.04 | 3.48 | 2.73 | 2.53
Spain, Barcelona | 2.09 | 3.13 | 4.31 | 5.33 | 6 | 6.69 | 6.8 | 5.81 | 4.56 | 3.11 | 2.14 | 1.77
Spain, Madrid | 2.11 | 3.05 | 4.39 | 5.21 | 6.06 | 7.01 | 7.19 | 6.31 | 4.83 | 3.15 | 2.17 | 1.78
Spain, Seville | 2.56 | 3.48 | 4.74 | 5.69 | 6.54 | 7.5 | 7.8 | 6.91 | 5.33 | 3.63 | 2.62 | 2.17
Spain, Valencia | 2.54 | 3.46 | 4.77 | 6.15 | 6.84 | 7.67 | 7.73 | 6.77 | 5.3 | 3.77 | 2.62 | 2.14
Sultanate of Brunei, Bandar Seri Begawan | 5.66 | 6.02 | 6.56 | 6.48 | 5.68 | 5.57 | 5.46 | 5.47 | 5.51 | 5.2 | 5.12 | 5.1
Sweden, Gothenburg | 0.44 | 1.1 | 2.32 | 3.76 | 5.24 | 5.58 | 5.36 | 4.28 | 2.85 | 1.36 | 0.61 | 0.3
Sweden, Linden (Tilt 90°) | 0.69 | 1.73 | 2.86 | 3.55 | 3.61 | 3.5 | 3.41 | 3.2 | 2.82 | 1.94 | 1.18 | 0
Sweden, Stockholm | 0.4 | 1.07 | 2.44 | 4.08 | 5.6 | 5.86 | 5.59 | 4.38 | 2.83 | 1.33 | 0.55 | 0.25
Switzerland, Geneva | 1.39 | 2.2 | 3.37 | 4.26 | 5.22 | 5.87 | 5.95 | 5.11 | 3.8 | 2.38 | 1.44 | 1.11
Switzerland, Zürich | 1.37 | 2.18 | 3.25 | 4.24 | 5.22 | 5.61 | 5.61 | 4.82 | 3.5 | 2.17 | 1.36 | 1.05
Thailand, Bangkok | 5.07 | 5.62 | 5.99 | 6.23 | 5.37 | 4.93 | 4.82 | 4.81 | 4.73 | 4.49 | 4.74 | 4.86
Thailand, Chanthaburi | 5.22 | 5.42 | 5.47 | 5.55 | 4.57 | 4.23 | 4.19 | 4.06 | 4.16 | 4.52 | 4.97 | 5.11
Thailand, Chiang Mai | 5.17 | 5.92 | 6.31 | 6.36 | 5.36 | 4.28 | 3.99 | 3.91 | 4.28 | 4.45 | 4.48 | 4.75
Thailand, Krabi | 5.88 | 6.35 | 6.27 | 6.13 | 4.89 | 4.61 | 4.67 | 4.47 | 4.38 | 4.57 | 4.83 | 5.18
Thailand, Rayong | 5.34 | 5.8 | 5.96 | 6.2 | 5.19 | 4.85 | 4.84 | 4.78 | 4.63 | 4.73 | 5.22 | 5.27
Thailand, Ubon Ratchathani | 5.17 | 5.92 | 6.31 | 6.36 | 5.36 | 4.28 | 3.99 | 3.91 | 4.28 | 4.45 | 4.48 | 4.75
Turkey, Ankara | 1.77 | 2.5 | 3.73 | 4.48 | 5.69 | 6.44 | 6.75 | 5.99 | 4.84 | 3.26 | 2.07 | 1.49
Turkey, Istanbul | 1.47 | 2.23 | 3.49 | 4.83 | 6.35 | 7.27 | 7.41 | 6.33 | 4.86 | 2.89 | 1.75 | 1.25
Ukraine, Kiev | 1.07 | 1.87 | 2.95 | 3.96 | 5.25 | 5.22 | 5.25 | 4.67 | 3.12 | 1.94 | 1.02 | 0.86
United Kingdom, Cardiff | 0.74 | 1.35 | 2.23 | 3.54 | 4.55 | 4.73 | 4.69 | 4 | 2.76 | 1.59 | 0.92 | 0.59
United Kingdom, Edinburgh | 0.51 | 1.17 | 2.05 | 3.24 | 4.53 | 4.61 | 4.3 | 3.63 | 2.47 | 1.35 | 0.65 | 0.38
United Kingdom, Glasgow | 0.51 | 1.17 | 2.05 | 3.24 | 4.53 | 4.61 | 4.3 | 3.63 | 2.47 | 1.35 | 0.65 | 0.38
United Kingdom, London | 0.82 | 1.46 | 2.45 | 3.72 | 4.71 | 4.97 | 4.98 | 4.34 | 2.93 | 1.79 | 0.99 | 0.62
United Kingdom, Manchester | 0.65 | 1.32 | 2.22 | 3.39 | 4.42 | 4.5 | 4.48 | 3.85 | 2.64 | 1.57 | 0.82 | 0.51
USA, Alaska | 0.1 | 0.67 | 2.02 | 3.83 | 5.34 | 5.85 | 5.15 | 3.65 | 2.32 | 1.05 | 0.23 | 0.02
USA, Atlanta, GA | 2.47 | 3.1 | 4.2 | 5.19 | 5.63 | 5.74 | 5.73 | 5.16 | 4.55 | 3.88 | 2.74 | 2.27
USA, Austin, TX | 2.79 | 3.35 | 4.32 | 5.24 | 5.58 | 6.17 | 6.44 | 5.82 | 5.03 | 4.04 | 3.08 | 2.6
USA, Chicago, IL | 1.39 | 2.28 | 3.62 | 4.79 | 5.76 | 6.51 | 6.56 | 5.62 | 4.44 | 2.94 | 1.71 | 1.26
USA, Denver, CO | 2.23 | 3.17 | 4.37 | 5.39 | 6.21 | 6.69 | 6.59 | 5.8 | 4.92 | 3.7 | 2.54 | 2.05
USA, Kansas City, KS | 2.14 | 2.77 | 3.91 | 4.8 | 5.56 | 6.15 | 6.28 | 5.49 | 4.68 | 3.42 | 2.27 | 1.88
USA, Los Angeles, CA | 3.04 | 3.86 | 5.34 | 6.64 | 7.38 | 7.69 | 7.26 | 6.65 | 5.67 | 4.43 | 3.41 | 2.82
USA, Miami, FL | 3.83 | 4.67 | 5.68 | 6.62 | 6.85 | 6.33 | 6.65 | 6.19 | 5.41 | 4.86 | 4.03 | 3.49
USA, New York City, NY | 1.97 | 2.86 | 3.93 | 4.83 | 5.55 | 6.03 | 5.82 | 5.27 | 4.37 | 3.26 | 2.14 | 1.73
USA, Seattle, WA | 1.25 | 2.16 | 3.21 | 4.49 | 5.25 | 5.67 | 6.16 | 5.42 | 4.13 | 2.42 | 1.38 | 1.04
USA, Washington D.C. | 1.96 | 2.76 | 3.71 | 4.66 | 5.34 | 5.63 | 5.57 | 4.96 | 4.26 | 3.36 | 2.22 | 1.72
Venezuela, Caracas | 5.72 | 6.54 | 7.11 | 7.34 | 6.43 | 5.37 | 5.99 | 6.38 | 6.37 | 5.99 | 5.49 | 5.31
Data: https://eosweb.larc.nasa.gov/cgi-bin/sse/retscreen.cgi?&email=rets@nrcan.gc.ca&step=1&p=&lat=488&submit=Submit&lon=1134
Note on D7: The power demand is amps times voltage: [W] = [A] x [V]
Note on D11: Please enter '0' if you don't use a solar panel
Note on D12: System losses are usually 15 % due to transformations in converter and charge controller as well as the length of power cables, etc.
Note on F16: In average, solar panels made of crystalline silicon have a nominal power of ca. 120 Wpeak/m² (ca. 11 Wpeak/ft²)
Note on D54: This is the maximum daily deviation from energy demand and energy yield from solar panel that needs to be covered by EFOY Pro.
Note on D55: This is the annual deviation from energy demand and energy yield from solar panel that needs to be covered by EFOY Pro.

## EFOY Pro + Solar Calculator RU (hidden)
EFOY Pro + Solar Energy Calculator v3.5
Please fill out the white cells:
Energy Demand
Current |  | 2
Voltage |  | 24 | [5 empty] | 12
Duration per day |  | 24 | [5 empty] | 24
Power demand |  | 48 | [5 empty] | 48
Energy demand per day |  | 1152
Energy Yield Solar Panel (Crystalline Silicon Solar Module)
Nominal power (Ppeak) of solar panel |  | 500
System losses |  | 15%
Location |  | Норильск
Energy yield in worst month |  | 0
Annual solar yield |  | 371.9647 | [5 empty] | 0
Size of solar panel |  | 4.1667 |  | 44.8511 |  |  |  | 45
Inclination (0 - 90°) Equator-Pointed |  | 45 | [5 empty] | 75
90
Solareinstrahlung | [9 empty] | Leistung / Tag | Leistung / Monat | Leistung / Jahr | EFOY Pro | Ausgangsleistung | Anzahl | Leistung
Jan |  | 0 | [7 empty] | 0 | 0 | 0 | neccessary | 0 | not | 0
Feb |  | 0.77704 | [7 empty] | 840 | 25.2 | 302.4 | EFOY Pro 800 (Duo) | 35 | 1 | 35
Mär |  | 2.0967 | [7 empty] | 2280 | 68.4 | 820.8 | EFOY Pro 2400 (Duo) | 95 | 1 | 95
Apr |  | 4.1167 | [7 empty] | 4560 | 136.8 | 1641.6 | EFOY Pro 2400 (Duo) | 95 | 2 | 190
Mai |  | 5.017 | [7 empty] | 6840 | 205.2 | 2462.4 | EFOY Pro 2400 (Duo) | 95 | 3 | 285
Jun |  | 5 | [7 empty] | 6840 | 205.2 | 2462.4 | EFOY Pro 2400 (Duo) | 95 | 3 | 285
Jul |  | 4.8267 | [7 empty] | 6840 | 205.2 | 2462.4 | EFOY Pro 2400 (Duo) | 95 | 3 | 285
Aug |  | 3.7615 | [7 empty] | 11184 | 335.52 | 4026.24 | EFOY Pro 12000 Duo | 466 | 1 | 466
Sep |  | 2.4522 | [7 empty] | 22368 | 671.04 | 8052.48 | EFOY Pro 12000 Duo | 466 | 2 | 932
Okt |  | 1.1259 | [7 empty] | 33552 | 1006.56 | 12078.72 | EFOY Pro 12000 Duo | 466 | 3 | 1398
Nov |  | 0 | [7 empty] | 44736 | 1342.08 | 16104.96 | EFOY Pro 12000 Duo | 466 | 4 | 1864
Dez |  | 0 | [7 empty] | 55920 | 1677.6 | 20131.2 | EFOY Pro 12000 Duo | 466 | 5 | 2330
[10 empty] | 1200000 | 36000 | 432000 | possible | 0 | not | 50000
Energieertrag PV-Anlage |  | Solar Yield |  | Energy Demand |  |  |  | Energielücke
Jan |  | 0 |  | 34.56 |  |  |  | 34.56
Feb |  | 9.9072 |  | 34.56 |  |  |  | 24.6528
Mar |  | 26.7325 |  | 34.56 |  |  |  | 7.8275 |  |  | 12 |  | 24 |  | 48 |  | Value
Apr |  | 52.4875 |  | 34.56 |  |  |  | 0 |  | EFOY Pro 800 (Duo) | 50 | 200 | 30 | 100 | 0 | 0 | 30 | 100
May |  | 63.9672 |  | 34.56 |  |  |  | 0 |  | EFOY Pro 2400 (Duo) | 100 | 400 | 60 | 200 | 0 | 0 | 60 | 200
Jun |  | 63.75 |  | 34.56 |  |  |  | 0 |  | EFOY Pro 12000 Duo | 0 | 0 | 100 | 800 | 50 | 400 | 100 | 800
Jul |  | 61.54 |  | 34.56 |  |  |  | 0 |  | neccessary | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Aug |  | 47.9589 |  | 34.56 |  |  |  | 0 |  | possible | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
Sep |  | 31.2658 |  | 34.56 |  |  |  | 3.2942
Oct |  | 14.3556 |  | 34.56 |  |  |  | 20.2044
Nov |  | 0 |  | 34.56 |  |  |  | 34.56
Dec |  | 0 |  | 34.56 |  |  |  | 34.56
Summe |  | 371.9647 |  | 414.72 |  |  | Max | 34.56 | 68.4 | 25.2
Differenz |  | 42.7553 |  |  |  |  | Min | 0
Energy Gap that Needs to be Covered by EFOY Pro
Maximum energy gap |  | 1152 | [5 empty] | 1 | 2280
Total energy gap per year |  | 159.6589 | [5 empty] | EFOY Pro 2400 (Duo) | 302.4
Recommended EFOY Pro fuel cell |  | 1 | EFOY Pro 2400 (Duo)
Battery capacity for 1 EFOY Pro 2400 (Duo) at 24 V |  | 60 | to |  | 200
Autonomy with 1 EFOY Pro 2400 (Duo) |  | Two EFOY fuel cartridge per device |  | Four EFOY fuel cartridges per device**
Fuel Cartridge M5 | 5600 | 25.2538 |  | 50.5077
Fuel Cartridge M10 | 11100 | 50.0567 |  | 100.1134
Fuel Cartridge M28 | 31100 | 140.249 |  | 280.498
* The shown values are average values for one year. The real autonomous runtime depends on season and may vary because of antifreeze mode as well as start/shut-down phases of EFOY Pro where not the full power output is generated.
** Requires EFOY Pro Duo plus two DuoCartSwitch DCS1 to connect 4 EFOY fuel cartridges
Operating Hours per Year and per Device*** |  | Devices |  | Hours |  |  |  |  | Leistung |  |  | Max. hours year | Units |  | Operation hours
EFOY Pro 800 (Duo) |  | 1 |  | 4561.6825 |  |  |  | EFOY Pro 800 (Duo) | 35 | 1 | 4561.6825 | 8000 | 1 | 1 | 4561.6825
EFOY Pro 2400 (Duo) |  | 1 |  | 1680.6199 |  |  |  | EFOY Pro 2400 (Duo) | 95 | 1 | 1680.6199 | 8000 | 1 | 1 | 1680.6199
EFOY Pro 12000 Duo |  | 1 |  | 342.6156 |  |  |  | EFOY Pro 12000 Duo | 466 | 1 | 342.6156 | 8000 | 1 | 1 | 342.6156
*** Average values; actual yearly number of operating hours can vary depending on age of EFOY Pro unit
Disclaimer: SFC Energy AG takes no responsibility for correctness of this calculation. The values generated by the energy calculator are estimates under ideal conditions only and should not be taken as formal quotes. The real energy yield from solar panel can depend on further factors like inclination, alignment and fouling of solar panels as well as shading due to buildings, trees, etc.
Норильск |  |  | 0 | 0.34 | 1.43 | 3.45 | 4.98 | 5.2 | 4.96 | 3.48 | 1.83 | 0.6 | 0 | 0 | 0 | 0.77704 | 2.0967 | 4.1167 | 5.017 | 5 | 4.8267 | 3.7615 | 2.4522 | 1.1259 | 0 | 0 | 0 | 0.99067 | 2.332 | 4.1147 | 4.5867 | 4.4573 | 4.36 | 3.576 | 2.608 | 1.3587 | 0 | 0 | 0 | 0.98 | 2.15 | 3.57 | 3.82 | 3.57 | 3.52 | 3.06 | 2.34 | 1.31 | 0 | 0
Stadt | Latitude (Breitengrad) N 0 to 90, S 0 to -90 | Longitude (Längengrad) E 0 to 180, W 0 to -180 | Januar | Februar | März | April | Mai | Juni | Juli | August | September | Oktober | November | Dezember | Januar | Februar | März | April | Mai | Juni | Juli | August | September | Oktober | November | Dezember | Januar | Februar | März | April | Mai | Juni | Juli | August | September | Oktober | November | Dezember | Januar | Februar | März | April | Mai | Juni | Juli | August | September | Oktober | November | Dezember
Астрахань | 46° 20′ N | 48° 02′ E | 1.38 | 2.25 | 3.45 | 4.58 | 5.73 | 6.02 | 6.13 | 5.37 | 4.19 | 2.55 | 1.41 | 1.04 | 2.19 | 3.20 | 4.20 | 4.92 | 5.57 | 5.51 | 5.73 | 5.52 | 4.92 | 3.48 | 2.13 | 1.67 | 2.19 | 2.97 | 3.49 | 3.53 | 3.54 | 3.35 | 3.55 | 3.75 | 3.89 | 3.14 | 2.09 | 1.68 | 2.13 | 2.84 | 3.23 | 3.14 | 3.04 | 2.86 | 3.03 | 3.28 | 3.55 | 2.97 | 2.02 | 1.64
Волгоград | 48° 43′ N | 44° 30′ E | 1.21 | 2.17 | 3.28 | 4.33 | 5.64 | 5.85 | 5.88 | 5.18 | 3.76 | 2.28 | 1.28 | 0.94 | 1.97 | 3.17 | 4.06 | 4.60 | 5.37 | 5.28 | 5.43 | 5.33 | 4.46 | 3.16 | 1.99 | 1.57 | 2.00 | 2.99 | 3.39 | 3.33 | 3.48 | 3.28 | 3.43 | 3.65 | 3.52 | 2.85 | 1.97 | 1.62 | 1.96 | 2.89 | 3.20 | 3.05 | 3.11 | 2.92 | 3.05 | 3.30 | 3.29 | 2.74 | 1.93 | 1.59
Краснодар | 45° 02′ N | 38° 58′ E | 1.23 | 2.01 | 2.95 | 4.17 | 5.51 | 5.87 | 6.14 | 5.27 | 3.99 | 2.61 | 1.49 | 0.98 | 1.84 | 2.77 | 3.44 | 4.43 | 5.36 | 5.41 | 5.77 | 5.40 | 4.62 | 3.54 | 2.22 | 1.49 | 1.8133 | 2.55 | 2.8233 | 3.1767 | 3.4067 | 3.2833 | 3.5367 | 3.6567 | 3.6433 | 3.1933 | 2.1633 | 1.48 | 1.75 | 2.41 | 2.58 | 2.78 | 2.87 | 2.74 | 2.95 | 3.14 | 3.28 | 3.00 | 2.08 | 1.43
Оренбург | 51° 46′ N | 55° 05′ E | 0.97 | 1.86 | 3.36 | 4.64 | 6.01 | 6.47 | 6.25 | 5.16 | 3.72 | 2.09 | 1.14 | 0.80 | 1.67 | 2.8227 | 4.346 | 5.1393 | 5.89 | 6.0027 | 5.9313 | 5.47 | 4.5747 | 3.002 | 1.88 | 1.46 | 1.7633 | 2.4983 | 2.855 | 3.0783 | 3.2 | 3.09 | 3.2667 | 3.4017 | 3.4517 | 3.01 | 2.0733 | 1.4633 | 1.71 | 2.64 | 3.54 | 3.51 | 3.49 | 3.36 | 3.40 | 3.50 | 3.49 | 2.69 | 1.88 | 1.55
Тюмень | 57° 09′ N | 65° 31′ E | 0.57 | 1.39 | 2.79 | 4.37 | 5.2 | 6.07 | 5.75 | 4.1 | 2.65 | 1.46 | 0.78 | 0.4 | 1.611 | 2.7433 | 4.2643 | 5.1414 | 5.9862 | 6.1462 | 6.0733 | 5.5367 | 4.5519 | 2.9529 | 1.8233 | 1.399 | 1.8167 | 2.8517 | 3.955 | 4.2717 | 4.52 | 4.49 | 4.5333 | 4.4483 | 4.1383 | 3.05 | 2.0467 | 1.5967 | 1.33 | 2.32 | 3.31 | 3.69 | 3.33 | 3.47 | 3.45 | 2.98 | 2.63 | 2.07 | 1.67 | 1.05
Омск | 54° 59′ N | 73° 22′ E | 0.76 | 1.56 | 3.11 | 4.48 | 5.79 | 6.35 | 5.83 | 4.58 | 3.15 | 1.85 | 0.99 | 0.63 | 1.4187 | 2.4693 | 4.174 | 5.1067 | 5.77 | 5.972 | 5.646 | 4.9213 | 3.928 | 2.7673 | 1.79 | 1.34 | 1.5867 | 2.5895 | 4.0433 | 4.4471 | 4.6738 | 4.68 | 4.4843 | 4.1262 | 3.6514 | 2.8262 | 1.9748 | 1.5476 | 1.52 | 2.38 | 3.51 | 3.59 | 3.55 | 3.48 | 3.37 | 3.25 | 3.08 | 2.55 | 1.87 | 1.50
Салехард | 66° 31′ N | 66° 36′ E | 0 | 0.53 | 1.6 | 3.39 | 5.09 | 5.57 | 5.42 | 3.65 | 2.07 | 0.86 | 0.16 | 0 | 0 | 1.0555 | 2.2431 | 3.9233 | 5.1057 | 5.2641 | 5.271 | 3.8931 | 2.721 | 1.4953 | 0.53647 | 0 | 0 | 1.24 | 2.17 | 3.23 | 3.74 | 3.64 | 3.74 | 3 | 2.49 | 1.64 | 0.74 | 0 | 0 | 1.24 | 2.17 | 3.23 | 3.74 | 3.64 | 3.74 | 3 | 2.49 | 1.64 | 0.74 | 0
Мурманск | 68° 58′ N | 33° 05′ E | 0 | 0.41 | 1.66 | 3.57 | 4.8 | 4.97 | 4.51 | 3.41 | 1.85 | 0.67 | 0 | 0 | 0 | 0.91566 | 2.5279 | 4.2719 | 4.8453 | 4.7738 | 4.3515 | 3.6666 | 2.4613 | 1.2134 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 0 | 1.13 | 2.6 | 3.68 | 3.65 | 3.37 | 3.15 | 2.94 | 2.31 | 1.38 | 0 | 0
Архангельск | 64° 32′ N | 40° 32′ E | 0.14 | 0.71 | 1.97 | 3.7 | 4.78 | 5.73 | 5.33 | 3.69 | 2.19 | 0.93 | 0.27 | 0 | 0.47469 | 1.3467 | 2.8108 | 4.3286 | 4.7637 | 5.428 | 5.1504 | 3.9267 | 2.8267 | 1.5259 | 0.74347 | 0 | 0.638 | 1.58 | 2.942 | 4.032 | 4.054 | 4.456 | 4.302 | 3.468 | 2.806 | 1.702 | 0.958 | 0 | 0.64 | 1.52 | 2.69 | 3.49 | 3.38 | 3.64 | 3.55 | 2.95 | 2.51 | 1.61 | 0.96 | 0
Новосибирск | 55° 02′ N | 82° 56′ E | 0.78 | 1.64 | 2.98 | 4.38 | 5.58 | 6.04 | 5.92 | 4.67 | 2.98 | 1.71 | 0.92 | 0.49 | 1.53 | 2.66 | 4.02 | 5.01 | 5.57 | 5.69 | 5.76 | 5.06 | 3.72 | 2.55 | 1.69 | 1.01 | 1.74 | 2.82 | 3.9 | 4.37 | 4.52 | 4.48 | 4.57 | 4.25 | 3.45 | 2.61 | 1.88 | 1.16 | 1.67 | 2.59 | 3.38 | 3.53 | 3.45 | 3.35 | 3.44 | 3.35 | 2.91 | 2.35 | 1.78 | 1.12
Барнаул | 53° 21′ N | 83° 45′ E | 0.92 | 1.79 | 3.13 | 4.53 | 5.64 | 6.09 | 5.91 | 4.81 | 3.22 | 1.91 | 1.07 | 0.7 | 1.7013 | 2.8213 | 4.1253 | 5.1033 | 5.5527 | 5.7227 | 5.662 | 5.1413 | 3.9647 | 2.7947 | 1.87 | 1.39 | 1.8909 | 2.9355 | 3.9464 | 4.4036 | 4.4709 | 4.4355 | 4.4573 | 4.2773 | 3.6418 | 2.8218 | 2.0382 | 1.5845 | 1.8 | 2.69 | 3.41 | 3.54 | 3.38 | 3.29 | 3.33 | 3.35 | 3.06 | 2.54 | 1.92 | 1.53
Иркустк | 52° 17′ N | 104° 17′ E | 1.14 | 2.18 | 3.69 | 4.81 | 5.57 | 5.51 | 5.02 | 4.23 | 3.22 | 2.1 | 1.26 | 0.88 | 2.11 | 3.452 | 4.904 | 5.4 | 5.456 | 5.136 | 4.764 | 4.4 | 3.912 | 3.064 | 2.178 | 1.728 | 2.333 | 3.5957 | 4.6848 | 4.6404 | 4.3583 | 3.9874 | 3.7604 | 3.6413 | 3.5726 | 3.0817 | 2.3591 | 1.9583 | 2.22 | 3.3 | 4.05 | 3.71 | 3.28 | 2.97 | 2.83 | 2.85 | 2.99 | 2.76 | 2.22 | 1.88
Чита | 52° 01′ N | 113° 30′ E | 1.27 | 2.37 | 3.88 | 5.05 | 5.9 | 5.98 | 5.3 | 4.48 | 3.5 | 2.38 | 1.39 | 0.98 | 2.388 | 3.81 | 5.166 | 5.688 | 5.798 | 5.578 | 5.036 | 4.686 | 4.294 | 3.51 | 2.452 | 1.964 | 2.6617 | 3.9917 | 4.9396 | 4.8926 | 4.6165 | 4.3004 | 3.9613 | 3.8735 | 3.9335 | 3.5452 | 2.6665 | 2.2283 | 2.54 | 3.67 | 4.27 | 3.91 | 3.46 | 3.17 | 2.97 | 3.03 | 3.29 | 3.18 | 2.51 | 2.15
Хабаровск | 48° 28′ N | 135° 05′ E | 1.62 | 2.75 | 4.1 | 4.75 | 5.5 | 5.82 | 5.15 | 4.24 | 3.6 | 2.56 | 1.82 | 1.32 | 2.7713 | 4.176 | 5.222 | 5.126 | 5.2633 | 5.292 | 4.784 | 4.288 | 4.2407 | 3.5893 | 3.026 | 2.3667 | 2.963 | 4.2278 | 4.8437 | 4.2837 | 4.0696 | 3.9519 | 3.6485 | 3.4752 | 3.7644 | 3.5152 | 3.2 | 2.5711 | 2.8 | 3.85 | 4.14 | 3.38 | 3.04 | 2.9 | 2.73 | 2.69 | 3.12 | 3.13 | 3 | 2.46
Владивосток | 43° 06′ N | 131° 52′ E | 2.34 | 3.33 | 4.4 | 4.99 | 5.27 | 5.38 | 4.53 | 4.28 | 4.03 | 3.24 | 2.31 | 1.98 | 4.878 | 5.532 | 5.758 | 5.246 | 4.944 | 4.768 | 4.128 | 4.216 | 4.696 | 4.772 | 4.266 | 4.374 | 5.3113 | 5.5587 | 5.2037 | 4.195 | 3.665 | 3.4475 | 3.065 | 3.2763 | 4.02 | 4.5975 | 4.5012 | 4.86 | 5.13 | 5.09 | 4.41 | 3.22 | 2.64 | 2.46 | 2.24 | 2.47 | 3.27 | 4.11 | 4.27 | 4.76
Ханты Мансийск | 61° 00′ N | 69° 00′ E | 0.3 | 1.01 | 2.27 | 3.89 | 5.17 | 5.85 | 5.74 | 3.92 | 2.46 | 1.25 | 0.48 | 0.14 | 0.72609 | 1.7839 | 3.1483 | 4.5248 | 5.17 | 5.5109 | 5.5661 | 4.1635 | 3.147 | 1.9804 | 1.0974 | 0.37478 | 0.898 | 2 | 3.21 | 4.164 | 4.404 | 4.546 | 4.656 | 3.68 | 3.074 | 2.146 | 1.324 | 0.462 | 0.89 | 1.91 | 2.87 | 3.48 | 3.51 | 3.54 | 3.66 | 3.02 | 2.67 | 2 | 1.3 | 0.47
Уренгой | 65° 57′ N | 78° 22′ E | 0.09 | 0.64 | 1.86 | 3.58 | 5.07 | 5.63 | 5.44 | 3.67 | 2.09 | 0.95 | 0.21 | 0 | 0.338 | 1.264 | 2.692 | 4.196 | 5.094 | 5.318 | 5.272 | 3.918 | 2.722 | 1.654 | 0.642 | 0 | 0.45667 | 1.5033 | 2.8667 | 4.0167 | 4.5067 | 4.5433 | 4.5633 | 3.5667 | 2.7667 | 1.89 | 0.84 | 0 | 0.47 | 1.46 | 2.62 | 3.43 | 3.69 | 3.64 | 3.69 | 2.99 | 2.45 | 1.8 | 0.85 | 0
Якутск | 62° 02′ N | 129° 43′ E | 0.28 | 1.12 | 2.78 | 4.52 | 5.48 | 6.41 | 6.02 | 4.59 | 2.58 | 1.35 | 0.44 | 0.12 | 0.7566 | 2.0987 | 4.0991 | 5.4391 | 5.5055 | 6.0611 | 5.8583 | 5.0155 | 3.3715 | 2.2351 | 1.0953 | 0.40936 | 0.96133 | 2.4153 | 4.2993 | 5.1033 | 4.74 | 5.0307 | 4.9473 | 4.5087 | 3.3427 | 2.474 | 1.3567 | 0.536 | 0.96 | 2.32 | 3.89 | 4.29 | 3.8 | 3.93 | 3.9 | 3.72 | 2.93 | 2.32 | 1.35 | 0.55
Норильск | 69° 21′ N | 88° 12′ E | 0 | 0.34 | 1.43 | 3.45 | 4.98 | 5.2 | 4.96 | 3.48 | 1.83 | 0.6 | 0 | 0 | 0 | 0.77704 | 2.0967 | 4.1167 | 5.017 | 5 | 4.8267 | 3.7615 | 2.4522 | 1.1259 | 0 | 0 | 0 | 0.99067 | 2.332 | 4.1147 | 4.5867 | 4.4573 | 4.36 | 3.576 | 2.608 | 1.3587 | 0 | 0 | 0 | 0.98 | 2.15 | 3.57 | 3.82 | 3.57 | 3.52 | 3.06 | 2.34 | 1.31 | 0 | 0
Анадырь | 64° 44′ N | 177° 30′ E | 0.14 | 0.64 | 1.78 | 3.59 | 5.04 | 5.75 | 5.19 | 3.77 | 2.41 | 1.09 | 0.28 | 0 | 0.49102 | 1.1624 | 2.4657 | 4.1696 | 5.0482 | 5.448 | 5.0104 | 4.0149 | 3.1937 | 1.8737 | 0.76163 | 0 | 0.652 | 1.35 | 2.568 | 3.952 | 4.424 | 4.604 | 4.296 | 3.628 | 3.24 | 2.118 | 0.972 | 0 | 0.66 | 1.3 | 2.32 | 3.36 | 3.6 | 3.66 | 3.46 | 3.03 | 2.87 | 2.01 | 0.98 | 0
Казань | 55° 47′ N | 49° 07′ E | 0.68 | 1.43 | 2.79 | 4.27 | 5.54 | 6 | 5.74 | 4.47 | 2.81 | 1.48 | 0.82 | 0.54 | 1.31 | 2.29 | 3.74 | 4.88 | 5.55 | 5.66 | 5.59 | 4.8 | 3.47 | 2.17 | 1.47 | 1.18 | 1.48 | 2.41 | 3.61 | 4.26 | 4.52 | 4.47 | 4.45 | 4.04 | 3.22 | 2.21 | 1.63 | 1.38 | 1.42 | 2.22 | 3.14 | 3.45 | 3.46 | 3.35 | 3.36 | 3.21 | 2.72 | 1.99 | 1.54 | 1.34
Петропавловск-Камчатский | 53° 02′ N | 158° 39′ E | 0.91 | 1.76 | 3.2 | 4.6 | 5.4 | 5.47 | 4.76 | 3.85 | 3.01 | 1.75 | 1.05 | 0.71 | 1.67 | 2.76 | 4.2167 | 5.1833 | 5.314 | 5.122 | 4.5353 | 3.988 | 3.6633 | 2.5233 | 1.8187 | 1.41 | 1.8509 | 2.8664 | 4.0355 | 4.4718 | 4.2664 | 3.9891 | 3.5936 | 3.31 | 3.3464 | 2.5436 | 1.9782 | 1.5945 | 1.76 | 2.63 | 3.49 | 3.59 | 3.23 | 2.98 | 2.73 | 2.61 | 2.81 | 2.28 | 1.86 | 1.54
Магадан | 59° 33′ N | 150° 48′ E | 0.39 | 1.19 | 2.69 | 4.29 | 5.51 | 5.77 | 5.07 | 3.94 | 2.76 | 1.44 | 0.59 | 0.26 | 0.86273 | 2.0355 | 3.7809 | 5.0355 | 5.5645 | 5.4427 | 4.8882 | 4.1673 | 3.5327 | 2.2582 | 1.2173 | 0.64182 | 1.022 | 2.2473 | 3.8127 | 4.57 | 4.67 | 4.428 | 4.034 | 3.634 | 3.4087 | 2.408 | 1.4293 | 0.782 | 1 | 2.12 | 3.4 | 3.79 | 3.67 | 3.41 | 3.15 | 2.95 | 2.95 | 2.22 | 1.39 | 0.78
Нерюнгри | 56° 39′ N | 124° 38′ E | 0.81 | 1.81 | 3.29 | 4.56 | 5.13 | 5.59 | 5.12 | 4.32 | 2.72 | 1.81 | 1 | 0.52 | 1.7466 | 3.1076 | 4.5778 | 5.3015 | 5.1202 | 5.268 | 4.9346 | 4.5932 | 3.3639 | 2.7856 | 1.9756 | 1.1932 | 2.0347 | 3.3587 | 4.512 | 4.6907 | 4.1953 | 4.2 | 3.986 | 3.9193 | 3.144 | 2.8927 | 2.246 | 1.4153 | 1.98 | 3.12 | 3.96 | 3.83 | 3.25 | 3.18 | 3.05 | 3.12 | 2.67 | 2.63 | 2.15 | 1.38
Благовещенск | 50° 16′ N | 127° 32′ E | 1.54 | 2.7 | 4.12 | 4.86 | 5.72 | 5.99 | 5.08 | 4.46 | 3.59 | 2.49 | 1.69 | 1.23 | 2.8033 | 4.2767 | 5.37 | 5.3533 | 5.54 | 5.51 | 4.7667 | 4.6033 | 4.32 | 3.5733 | 2.94 | 2.3567 | 3.072 | 4.428 | 5.062 | 4.536 | 4.322 | 4.206 | 3.668 | 3.76 | 3.898 | 3.558 | 3.176 | 2.624 | 2.92 | 4.06 | 4.35 | 3.6 | 3.25 | 3.07 | 2.78 | 2.92 | 3.25 | 3.19 | 3 | 2.52
Владивосток | 43° 06′ N | 131° 52′ E | 2.34 | 3.33 | 4.4 | 4.99 | 5.27 | 5.38 | 4.53 | 4.28 | 4.03 | 3.24 | 2.31 | 1.98 | 4.878 | 5.532 | 5.758 | 5.246 | 4.944 | 4.768 | 4.128 | 4.216 | 4.696 | 4.772 | 4.266 | 4.374 | 5.3113 | 5.5587 | 5.2037 | 4.195 | 3.665 | 3.4475 | 3.065 | 3.2763 | 4.02 | 4.5975 | 4.5012 | 4.86 | 5.13 | 5.09 | 4.41 | 3.22 | 2.64 | 2.46 | 2.24 | 2.47 | 3.27 | 4.11 | 4.27 | 4.76
Дудинка | 69° 24′ N | 86° 10′ E | 0 | 0.32 | 1.4 | 3.51 | 5.21 | 5.46 | 5.14 | 3.53 | 1.86 | 0.63 | 0 | 0 | 0 | 0.71259 | 2.037 | 4.2063 | 5.2693 | 5.26 | 5.0141 | 3.8263 | 2.5044 | 1.2004 | 0 | 0 | 0 | 0.9 | 2.2527 | 4.2147 | 4.8347 | 4.6947 | 4.538 | 3.6453 | 2.668 | 1.4587 | 0 | 0 | 0 | 0.89 | 2.07 | 3.66 | 4.03 | 3.76 | 3.66 | 3.12 | 2.4 | 1.41 | 0 | 0
Кемерово | 55° 19′ N | 86° 04′ E | 0.8 | 1.72 | 3.03 | 4.26 | 5.36 | 5.79 | 5.72 | 4.54 | 2.82 | 1.66 | 0.92 | 0.55 | 1.59 | 2.83 | 4.11 | 4.85 | 5.35 | 5.45 | 5.56 | 4.9 | 3.48 | 2.47 | 1.7 | 1.2 | 1.81 | 3 | 3.99 | 4.24 | 4.35 | 4.3 | 4.43 | 4.12 | 3.22 | 2.53 | 1.89 | 1.39 | 1.74 | 2.77 | 3.47 | 3.43 | 3.33 | 3.23 | 3.34 | 3.26 | 2.71 | 2.28 | 1.79 | 1.35
Пермь | 58° 00′ N | 56° 15′ E | 0.5 | 1.28 | 2.55 | 4.08 | 5 | 5.79 | 5.53 | 3.82 | 2.34 | 1.21 | 0.67 | 0.32 | 1.0767 | 2.1544 | 3.4709 | 4.7033 | 4.9814 | 5.4551 | 5.344 | 3.9967 | 2.8609 | 1.7774 | 1.3212 | 0.7386 | 1.272 | 2.35 | 3.442 | 4.204 | 4.132 | 4.396 | 4.37 | 3.446 | 2.688 | 1.848 | 1.512 | 0.892 | 1.24 | 2.19 | 3.04 | 3.46 | 3.24 | 3.36 | 3.37 | 2.78 | 2.29 | 1.68 | 1.46 | 0.88
Екатеринбург | 56° 51′ N | 60° 36′ E | 0.68 | 1.51 | 2.9 | 4.35 | 5.07 | 5.77 | 5.35 | 4.02 | 2.6 | 1.41 | 0.83 | 0.45 | 1.4117 | 2.5051 | 3.9634 | 5.0232 | 5.0602 | 5.448 | 5.1744 | 4.2249 | 3.1951 | 2.0734 | 1.5812 | 0.98659 | 1.626 | 2.68 | 3.8907 | 4.4393 | 4.1447 | 4.3407 | 4.1773 | 3.606 | 2.9733 | 2.1227 | 1.7773 | 1.1667 | 1.57 | 2.49 | 3.4 | 3.62 | 3.21 | 3.28 | 3.19 | 2.88 | 2.52 | 1.92 | 1.7 | 1.13
Сыктывкар | 61° 40′ N | 50° 48′ E | 0.3 | 1.06 | 2.34 | 3.92 | 4.95 | 5.68 | 5.5 | 3.75 | 2.21 | 1.06 | 0.46 | 0.17 | 0.76087 | 1.9122 | 3.2878 | 4.5809 | 4.9413 | 5.3496 | 5.3348 | 3.9587 | 2.7665 | 1.6252 | 1.06 | 0.55261 | 0.938 | 2.166 | 3.37 | 4.228 | 4.214 | 4.428 | 4.47 | 3.498 | 2.686 | 1.746 | 1.284 | 0.708 | 0.94 | 2.07 | 3.03 | 3.54 | 3.37 | 3.46 | 3.53 | 2.87 | 2.33 | 1.62 | 1.27 | 0.72
Казань | 55° 47′ N | 49° 07′ E | 0.68 | 1.43 | 2.79 | 4.27 | 5.54 | 6.00 | 5.74 | 4.47 | 2.81 | 1.48 | 0.82 | 0.54 | 1.31 | 2.29 | 3.74 | 4.88 | 5.55 | 5.66 | 5.59 | 4.8 | 3.47 | 2.17 | 1.47 | 1.18 | 1.48 | 2.41 | 3.61 | 4.26 | 4.52 | 4.47 | 4.45 | 4.04 | 3.22 | 2.21 | 1.63 | 1.38 | 1.42 | 2.22 | 3.14 | 3.45 | 3.46 | 3.35 | 3.36 | 3.21 | 2.72 | 1.99 | 1.54 | 1.34
Мирный | 62° 32′ N | 113° 57′ E | 0.27 | 1.03 | 2.53 | 4.24 | 5.43 | 6.01 | 5.91 | 4.29 | 2.5 | 1.21 | 0.43 | 0.11 | 0.7466 | 1.9236 | 3.6874 | 5.0655 | 5.4555 | 5.6781 | 5.7568 | 4.6389 | 3.2574 | 1.976 | 1.0853 | 0.37383 | 0.95133 | 2.21 | 3.85 | 4.7447 | 4.7053 | 4.718 | 4.868 | 4.1653 | 3.228 | 2.174 | 1.3513 | 0.486 | 0.95 | 2.12 | 3.48 | 4 | 3.78 | 3.71 | 3.85 | 3.44 | 2.83 | 2.04 | 1.35 | 0.5
Ленск | 60° 43′ N | 114° 55′ E | 0.41 | 1.33 | 2.85 | 4.48 | 5.36 | 5.94 | 5.73 | 4.33 | 2.58 | 1.35 | 0.6 | 0.23 | 1.0144 | 2.4322 | 4.1122 | 5.3244 | 5.3778 | 5.62 | 5.5611 | 4.6589 | 3.3 | 2.15 | 1.3733 | 0.66556 | 1.2433 | 2.7433 | 4.2233 | 4.9067 | 4.5633 | 4.6067 | 4.6267 | 4.1167 | 3.21 | 2.3133 | 1.6433 | 0.84667 | 1.24 | 2.61 | 3.79 | 4.09 | 3.62 | 3.57 | 3.62 | 3.36 | 2.79 | 2.15 | 1.62 | 0.85
Верхоянск | 67° 33′ N | 133° 23′ E | 0 | 0.55 | 2.1 | 4.19 | 5.5 | 5.7 | 5.57 | 4 | 2.27 | 0.95 | 0.14 | 0 | 0 | 1.1962 | 3.2923 | 5.1208 | 5.5692 | 5.4538 | 5.4162 | 4.3231 | 3.1162 | 1.7885 | 0.65538 | 0 | 0 | 1.482 | 3.68 | 5.078 | 5.018 | 4.746 | 4.768 | 4.046 | 3.288 | 2.126 | 0.918 | 0 | 0 | 1.46 | 3.4 | 4.39 | 4.14 | 3.82 | 3.89 | 3.42 | 2.95 | 2.05 | 0.95 | 0
Хатанга | 71° 58′ N | 102° 28′ E | 0 | 0.24 | 1.43 | 3.58 | 5.17 | 5.52 | 4.95 | 3.47 | 1.72 | 0.54 | 0 | 0 | 0 | 0.69714 | 2.3014 | 4.4014 | 5.2129 | 5.4057 | 4.9071 | 3.7843 | 2.3914 | 1.1757 | 0 | 0 | 0 | 0.94533 | 2.678 | 4.5247 | 4.9033 | 4.8747 | 4.47 | 3.6767 | 2.6133 | 1.4953 | 0 | 0 | 0 | 0.95 | 2.51 | 3.99 | 4.04 | 3.93 | 3.64 | 3.18 | 2.38 | 1.47 | 0 | 0
Ноябрьск | 63° 11′ N | 75° 26′ E | 0.19 | 0.81 | 2.1 | 3.71 | 4.98 | 5.58 | 5.57 | 3.83 | 2.27 | 1.1 | 0.33 | 0 | 0.54833 | 1.4933 | 2.975 | 4.335 | 4.9717 | 5.2467 | 5.395 | 4.0717 | 2.9033 | 1.8083 | 0.79667 | 0 | 0.704 | 1.7253 | 3.1047 | 4.0687 | 4.3127 | 4.4007 | 4.5853 | 3.648 | 2.8867 | 2.006 | 0.994 | 0 | 0.71 | 1.65 | 2.81 | 3.43 | 3.48 | 3.48 | 3.66 | 3.02 | 2.53 | 1.89 | 0.99 | 0
Воркута | 67° 29′ N | 64° 03′ E | 0 | 0.46 | 1.48 | 3.15 | 4.75 | 5.19 | 5.11 | 3.53 | 2.04 | 0.8 | 0.12 | 0 | 0 | 0.93692 | 2.0723 | 3.5962 | 4.7346 | 4.9592 | 4.9408 | 3.73 | 2.7246 | 1.4308 | 0.49692 | 0 | 0 | 1.14 | 2.226 | 3.474 | 4.238 | 4.306 | 4.348 | 3.448 | 2.842 | 1.684 | 0.686 | 0 | 0 | 1.11 | 2.03 | 2.98 | 3.5 | 3.46 | 3.54 | 2.91 | 2.54 | 1.61 | 0.71 | 0
Билибино | 68° 03′ N | 166° 26′ E | 0 | 0.42 | 1.56 | 3.56 | 5.1 | 5.71 | 5.2 | 3.62 | 1.97 | 0.77 | 0.09 | 0 | 0 | 0.91057 | 2.2996 | 4.2392 | 5.1151 | 5.476 | 5.0189 | 3.9219 | 2.6492 | 1.4342 | 0.48245 | 0 | 0 | 1.13 | 2.556 | 4.2907 | 4.768 | 5.0447 | 4.5907 | 3.8007 | 2.8453 | 1.724 | 0.686 | 0 | 0 | 1.11 | 2.32 | 3.62 | 3.84 | 3.87 | 3.64 | 3.14 | 2.5 | 1.65 | 0.72 | 0
Оленёк | 68° 30′ N | 112° 26′ E | 0 | 0.48 | 1.89 | 3.96 | 5.51 | 5.48 | 5.34 | 3.69 | 1.97 | 0.8 | 0.08 | 0 | 0 | 1.114 | 2.9768 | 4.8355 | 5.5779 | 5.2611 | 5.1664 | 4.0145 | 2.6568 | 1.5245 | 0.54038 | 0 | 0 | 1.4113 | 3.3527 | 4.8413 | 5.084 | 4.6607 | 4.5867 | 3.808 | 2.8147 | 1.836 | 0.77533 | 0 | 0 | 1.4 | 3.11 | 4.2 | 4.21 | 3.72 | 3.76 | 3.24 | 2.52 | 1.77 | 0.81 | 0
Тура | 64° 16′ N | 100° 13′ E | 0.16 | 0.81 | 2.25 | 4.08 | 5.25 | 5.56 | 5.44 | 3.73 | 2.25 | 1.03 | 0.25 | 0 | 0.57633 | 1.5692 | 3.3194 | 4.8718 | 5.2745 | 5.258 | 5.2604 | 3.9586 | 2.9194 | 1.732 | 0.65816 | 0 | 0.766 | 1.85 | 3.54 | 4.654 | 4.622 | 4.436 | 4.504 | 3.568 | 2.94 | 1.948 | 0.828 | 0 | 0.78 | 1.79 | 3.23 | 3.96 | 3.75 | 3.52 | 3.62 | 2.97 | 2.59 | 1.84 | 0.83 | 0
Южно-Сахалинск | 46° 57′ N | 142° 44′ E | 1.43 | 2.41 | 3.52 | 4.53 | 5.18 | 5.21 | 4.51 | 3.91 | 3.47 | 2.41 | 1.39 | 1.04 | 2.3 | 3.466 | 4.316 | 4.788 | 4.954 | 4.706 | 4.15 | 3.878 | 3.998 | 3.28 | 2.116 | 1.67 | 2.4048 | 3.4241 | 3.9162 | 3.9483 | 3.7862 | 3.5141 | 3.1593 | 3.1103 | 3.4938 | 3.1517 | 2.1586 | 1.7434 | 2.26 | 3.1 | 3.33 | 3.1 | 2.8 | 2.59 | 2.38 | 2.4 | 2.88 | 2.8 | 2 | 1.64
Охотск | 59° 21′ N | 143° 12′ E | 0.45 | 1.3 | 2.87 | 4.49 | 5.39 | 5.72 | 4.93 | 4.15 | 2.78 | 1.63 | 0.66 | 0.28 | 1.05 | 2.2636 | 4.07 | 5.2991 | 5.4173 | 5.3927 | 4.7391 | 4.4227 | 3.58 | 2.6027 | 1.4055 | 0.74364 | 1.2667 | 2.5 | 4.1227 | 4.8227 | 4.532 | 4.3853 | 3.9187 | 3.862 | 3.4487 | 2.788 | 1.6493 | 0.90933 | 1.25 | 2.36 | 3.67 | 4 | 3.57 | 3.38 | 3.06 | 3.13 | 2.98 | 2.58 | 1.61 | 0.91
Кызыл | 51° 42′ N | 94° 27′ E | 1.23 | 2.26 | 3.74 | 4.95 | 5.76 | 5.85 | 5.38 | 4.77 | 3.61 | 2.42 | 1.37 | 0.94 | 2.216 | 3.5413 | 4.9213 | 5.5267 | 5.6253 | 5.4287 | 5.09 | 5.0053 | 4.4047 | 3.5427 | 2.3433 | 1.7807 | 2.4267 | 3.6683 | 4.6717 | 4.73 | 4.425 | 4.18 | 3.9883 | 4.1183 | 4.0183 | 3.5567 | 2.52 | 1.995 | 2.31 | 3.36 | 4.03 | 3.78 | 3.35 | 3.08 | 2.98 | 3.21 | 3.36 | 3.19 | 2.37 | 1.92
Астана | 51° 10′ N | 71° 26′ E | 0.96 | 1.82 | 3.34 | 4.63 | 5.96 | 6.53 | 6.09 | 5.06 | 3.67 | 2.18 | 1.2 | 0.81 | 1.6373 | 2.74 | 4.3033 | 5.1167 | 5.82 | 6.0427 | 5.764 | 5.34 | 4.4747 | 3.1273 | 2.0027 | 1.49 | 1.7617 | 2.8 | 4.0567 | 4.3633 | 4.565 | 4.61 | 4.475 | 4.3917 | 4.075 | 3.125 | 2.1333 | 1.6467 | 1.67 | 2.55 | 3.49 | 3.48 | 3.44 | 3.36 | 3.3 | 3.4 | 3.4 | 2.8 | 2 | 1.58
Костанай | 53° 12′ N | 63° 37′ E | 0.8 | 1.66 | 3.29 | 4.59 | 5.62 | 6.34 | 5.89 | 4.79 | 3.41 | 1.98 | 1.09 | 0.69 | 1.426 | 2.5787 | 4.358 | 5.1733 | 5.5427 | 5.9513 | 5.642 | 5.1113 | 4.226 | 2.906 | 1.9013 | 1.36 | 1.4982 | 2.4736 | 3.6764 | 3.6782 | 3.4782 | 3.52 | 3.4318 | 3.4227 | 3.3327 | 2.67 | 1.9627 | 1.4955 | 1.49 | 2.45 | 3.62 | 3.59 | 3.37 | 3.4 | 3.32 | 3.33 | 3.27 | 2.64 | 1.95 | 1.49
Актобе | 50° 16′ N | 57° 12′ E | 1.03 | 1.94 | 3.45 | 4.66 | 6.05 | 6.55 | 6.24 | 5.26 | 3.86 | 2.25 | 1.26 | 0.83 | 1.7267 | 2.9033 | 4.42 | 5.1067 | 5.88 | 6.0267 | 5.87 | 5.53 | 4.6933 | 3.2033 | 2.0667 | 1.4567 | 1.844 | 2.944 | 4.144 | 4.328 | 4.582 | 4.574 | 4.48 | 4.512 | 4.252 | 3.176 | 2.196 | 1.59 | 1.74 | 2.68 | 3.56 | 3.44 | 3.43 | 3.31 | 3.32 | 3.48 | 3.54 | 2.84 | 2.06 | 1.51
Москва́ | 55° 45′ N | 37° 37′ E | 0.75 | 1.57 | 2.84 | 3.89 | 5.11 | 5.21 | 5.13 | 4.3 | 2.68 | 1.52 | 0.82 | 0.5 | 1.51 | 2.55 | 3.78 | 4.34 | 5.12 | 4.97 | 5 | 4.57 | 3.22 | 2.2 | 1.46 | 1.08 | 1.72 | 2.71 | 3.67 | 3.79 | 4.18 | 3.95 | 4 | 3.85 | 2.97 | 2.24 | 1.62 | 1.26 | 1.65 | 2.5 | 3.19 | 3.07 | 3.21 | 2.99 | 3.05 | 3.08 | 2.51 | 2.02 | 1.53 | 1.22
Санкт-Петербу́рг | 59° 57' N | 30° 18′ E | 0.35 | 1.06 | 2.35 | 3.91 | 5.4 | 5.84 | 5.61 | 4.38 | 2.63 | 1.24 | 0.49 | 0.2 | 0.96 | 2.14 | 3.44 | 4.54 | 5.26 | 5.31 | 5.17 | 4.57 | 3.32 | 2.06 | 1.27 | 0.7 | 0.96 | 2.14 | 3.44 | 4.54 | 5.26 | 5.31 | 5.17 | 4.57 | 3.32 | 2.06 | 1.27 | 0.7 | 1.06 | 2.14 | 2.99 | 3.36 | 3.48 | 3.36 | 3.34 | 3.23 | 2.7 | 1.94 | 1.38 | 0.81
Москва́ | 55° 45′ N, | 37° 37′E | 0.75 | 1.57 | 2.84 | 3.89 | 5.11 | 5.21 | 5.13 | 4.3 | 2.68 | 1.52 | 0.82 | 0.5 | 1.51 | 2.55 | 3.78 | 4.34 | 5.12 | 4.97 | 5 | 4.57 | 3.22 | 2.2 | 1.46 | 1.08 | 1.72 | 2.71 | 3.67 | 3.79 | 4.18 | 3.95 | 4 | 3.85 | 2.97 | 2.24 | 1.62 | 1.26 | 1.65 | 2.5 | 3.19 | 3.07 | 3.21 | 2.99 | 3.05 | 3.08 | 2.51 | 2.02 | 1.53 | 1.22
Санкт-Петербу́рг | 59.57'N | 30.18'E | 0.35 | 1.06 | 2.35 | 3.91 | 5.4 | 5.84 | 5.61 | 4.38 | 2.63 | 1.24 | 0.49 | 0.2 | 0.96 | 2.14 | 3.44 | 4.54 | 5.26 | 5.31 | 5.17 | 4.57 | 3.32 | 2.06 | 1.27 | 0.7 | 0.96 | 2.14 | 3.44 | 4.54 | 5.26 | 5.31 | 5.17 | 4.57 | 3.32 | 2.06 | 1.27 | 0.7 | 1.06 | 2.14 | 2.99 | 3.36 | 3.48 | 3.36 | 3.34 | 3.23 | 2.7 | 1.94 | 1.38 | 0.81
Data:
https://eosweb.larc.nasa.gov/cgi-bin/sse/grid.cgi?email=na
Note on D7: The power demand is amps times voltage: [W] = [A] x [V]
Note on D11: Please enter '0' if you don't use a solar panel
Note on D12: System losses are usually 15 % due to transformations in converter and charge controller as well as the length of power cables, etc.
Note on F16: In average, solar panels made of crystalline silicon have a nominal power of ca. 120 Wpeak/m² (ca. 11 Wpeak/ft²)
Note on D54: This is the maximum daily deviation from energy demand and energy yield from solar panel that needs to be covered by EFOY Pro.
Note on D55: This is the annual deviation from energy demand and energy yield from solar panel that needs to be covered by EFOY Pro.